**FTS Price Computing Scale**

* 30 PLU and 319 indirect PLU memory
* Easy-to-See, large display ( 27.7 mm x 108 mm )
* Using super contrasted LCD with back light
* Auto zero tracking
* RS-232 interface
* Dual range

|  |  |
| --- | --- |
| ITEM NO. | **FTS-30** |
| CAPACITY | 30 kg |
| DIVISION | 5 g |
| PRESET DATA PLU | 30 direct PLU, 320 indirect PLU |
| OPERATION TEMP. | 0°C ~ +40°C |
| POWER SOURCE | 6V rechargeable battery |
| PLATFORM SIZE | 340mm ( W ) x 280mm ( D ) |
| DIMENSIONS | 340 mm x 430 mm x 490 - 670 mm ( W x D X H ) |
| PACKING | 2 sets / CTN, N.W.: 14.64 kg, G.W.: 17.86 kg, Cuft: 3.7 |

**MAX-P Platform Price Computing Scale**

* Large single load cell design
* 6 digits LCD (108 x 27mm) with backlight
* Swivel indicator (up & down 45°,level 360°)
* Full tare, zero tracking & auto calibration
* Long life rechargeable battery
* Rugged aluminum die-casting injection construction
* Sub-total recall and change calculating function
* Addition, subtraction and multiplication of non-weighed items
* Low battery warning signal
* In-charge LED indication
* RS-232 interface

|  |  |
| --- | --- |
| ITEM NO. | MAX-P300 |
| CAPACITY | 300 kg |
| DIVISION | 100 g |
| PLATFORM | 525 x 425 mm |
| POWER SOURCE | 6V rechargeable battery |
| PACKING | 1 set / CTN, N.W. : 16 kg, G.W. : 18.4 kg, Cuft : 3 |